| Question(s): | 19/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 3/5 |
| Source: | Editor of L.1205 (ex L.renewable) |  |  |  |
| Title: | A.5 justification information for draft new L.1205 (ex L.renewable) "Interfacing of renewable energy or distributed power sources to up to 400 VDC power feeding systems" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1205 (ex L.renewable) "Interfacing of renewable energy or distributed power sources to up to 400 VDC power feeding systems" including the following normative references: ETSI EN 301 605 V1.1.1 (2013-10) , ETSI ES 202 336-1 V1.2.1 (2011-07) . |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1205 (ex L.renewable) "Interfacing of renewable energy or distributed power sources to up to 400 VDC power feeding systems".

- 2	Referred documents and respective justifications

| - ETSI EN 301 605 V1.1.1 (2013-10) : Environmental Engineering (EE); Earthing and bonding of 400 VDC data and telecom (ICT) equipment |  |
| --- | --- |
| - | Approved by ETSI |
| - | It is the only recognized standard on this topic. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - ETSI ES 202 336-1 V1.2.1 (2011-07) : Environmental Engineering (EE); Monitoring and Control Interface for Infrastructure Equipment (Power, Cooling and Building Environment Systems used in Telecommunication Networks) Part 1: Generic Interface |  |
| --- | --- |
| - | Approved by ETSI. |
| - | It is the only recognized standard on this topic. |
| - | Complete A.5 justification information can be found in Annex 2 . |

Annex 1A.5 justification information for the reference to ETSI EN 301 605 V1.1.1 (2013-10)

  - 1 	 Clear description of the referenced document:

ETSI EN 301 605 V1.1.1 (2013-10) : Environmental Engineering (EE); Earthing and bonding of 400 VDC data and telecom (ICT) equipment

  - 2 	 Status of approval:

Approved by ETSI

  - 3 	 Justification for the specific reference:

It is the only recognized standard on this topic.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI EN 300 132-3-1: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications and datacom (ICT) equipment; Part 3: Operated by rectified current source,

alternating current source or direct current source up to 400 V; Sub-part 1: Direct current source

up to 400 V".

[2] CENELEC HD 60364-1: "Low-voltage electrical installations - Part 1: Fundamental principles,

assessment of general characteristics, definitions" (IEC 60364-1).

[3] CENELEC HD 60364-4-41: "Low-voltage electrical installations - Part 4-41: Protection for

safety - Protection against electric shock" (IEC 60364-4-41).

[4] CENELEC HD 60364-5-54: "Low-voltage electrical installations - Part 5-54: Selection and

erection of electrical equipment - Earthing arrangements and protective conductors"

(IEC 60364-5-54).

[5] IEC 60050: "International Electrotechnical Vocabulary".

[6] CENELEC EN 60950-1: "Information technology equipment - Safety - Part 1: General

requirements" (IEC 60950-1).

[7] CENELEC EN 62305-series: "Protection against lightning" (IEC 62305-series).

[8] CENELEC EN 50310: "Application of equipotential bonding and earthing in buildings with

information technology equipment".

[9] ETSI EN 300 253: "Environmental Engineering (EE); Earthing and bonding of telecommunication

equipment in telecommunication centres".

[10] CENELEC EN 41003: "Particular safety requirements for equipment to be connected to

telecommunication networks and/or a cable distribution system".

[11] IEC/TR 60479-5: "Effects of current on human beings and livestock - Part 5: Touch voltage

threshold values for physiological effects".

[12] CENELEC EN 50174-2: "Information technology -Cabling installation -Part 2: Installation

planning and practices inside buildings".

[13] CENELEC EN 61557-8: "Electrical safety in low voltage distribution systems up to 1 000 V a.c.

and 1 500 V d.c. - Equipment for testing, measuring or monitoring of protective measures -

Part 8: Insulation monitoring devices for IT systems" (IEC 61557-8).

[14] CENELEC EN 61557-9: "Electrical safety in low voltage distribution systems up to 1 000 V a.c.

and 1 500 V d.c. - Equipment for testing, measuring or monitoring of protective measures -

Part 9: Equipment for insulation fault location in IT systems" (IEC 61557-9).

[15] CENELEC HD 308: "Identification of cores in cables and flexible cords".

[16] CENELEC EN 60445: "Basic and safety principles for man-machine interface, marking and

identification - Identification of equipment terminals, conductor terminations and conductors"

(IEC 60445).

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

ETSI ES 202 336-1 V1.2.1 (2011-07) : Environmental Engineering (EE); Monitoring and Control Interface for Infrastructure Equipment (Power, Cooling and Building Environment Systems used in Telecommunication Networks) Part 1: Generic Interface

  - 2 	 Status of approval:

Approved by ETSI.

  - 3 	 Justification for the specific reference:

It is the only recognized standard on this topic.

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org/

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard

  - 7 	 Relationship with other existing or emerging documents:

Is the only currently published standard on this subject.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI ETS 300 132-1: "Equipment Engineering (EE); Power supply interface at the input to

telecommunications equipment; Part 1: Operated by alternating current (AC) derived from direct

current (DC) sources".

[2] ETSI EN 300 132-2: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications equipment; Part 2: Operated by direct current (DC)".

[3] ETSI EN 300 132-3: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications equipment; Part 3: Operated by rectified current source, alternating current

source or direct current source up to 400 V".

[4] ETSI EN 302 099: "Environmental Engineering (EE); Powering of equipment in access network".

[5] ITU-T Recommendation M.3010: "Principles for a Telecommunications management network".

[6] ITU-T Recommendation M.3100: "Generic network information model".

[7] ITU-T Recommendation X.733: "Information technology - Open Systems Interconnection -

Systems Management: Alarm reporting function".

[8] IEC 60839-5-4: "Alarm systems - Part 5: Requirements for alarm transmission systems -

Section 4: Alarm transmission systems using dedicated alarm transmission paths".

[9] ITU-T Recommendation X.25: "Interface between Data Terminal Equipment (DTE) and Data

Circuit-terminating Equipment (DCE) for terminals operating in the packet mode and connected to

public data networks by dedicated circuit".

[10] IETF RFC 2616: "Hypertext Transfer Protocol - HTTP/1.1".

[11] ISO/IEC 7498: "Open Systems Interconnection (OSI) - Basic Reference Model".

[12] IEEE 802.series (all parts): "IEEE Standard for Telecommunications and Information Exchange

Between systems - Local and metropolitan area networks".

[13] ISO/IEC 10164 (all parts): "Information technology - Open Systems Interconnection - Systems

Management".

[14] ISO/IEC 8879: "Information processing - Text and office systems - Standard Generalized Markup

Language (SGML)".

[15] ETSI ES 202 336 (parts 2, 3, 5, 7 and 8): "Environmental Engineering (EE); Monitoring and

Control Interface for Infrastructure Equipment (Power, Cooling and Building Environment

Systems used in Telecommunication Networks)".

[16] IEC 61076-2-101: "Connectors for electronic equipment - Product requirements -

Part 2-101: Circular connectors - Detail specification for M12 connectors with screw-locking".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None.

_________________