| Question(s): | 28/16 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 16 | Working Party: |  | 2/16 |
| Source: | Editor of H.821 (ex H.EH-HRN-01) |  |  |  |
| Title: | A.5 justification information for draft new H.821 (ex H.EH-HRN-01) "Conformance of ITU-T H.810 personal health devices: Health record network (HRN) interface" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new H.821 (ex H.EH-HRN-01) "Conformance of ITU-T H.810 personal health devices: Health record network (HRN) interface" including the following normative references: ETSI ETS 300 406 (1995-04), HL7 CDA-CCD (2007), HL7 CDA-PHMR (2010), IEEE 11073-10406-2011, IEEE 11073-10417-2011, IEEE 11073-10418-2011, IEEE 11073-10420-2010, IEEE 11073-20601a-2010, IETF RFC 3195 (2001), IETF RFC 3881 (2001), IHE ITI TF-1 PIX (2010), IHE ITI TFS XDR (2009), IHE ITI-TF-1 (2009), IHE ITI-TF-2 (2009), IHE TFS DSG (2009), IHE TFS XUA++ (2010). |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new H.821 (ex H.EH-HRN-01) "Conformance of ITU-T H.810 personal health devices: Health record network (HRN) interface".

- 2	Referred documents and respective justifications

| - ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; Standardization methodology |  |
| --- | --- |
| - | April 1995 |
| - | The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification. |
| - | Complete A.5 justification information can be found in Annex 1 . |

| - HL7 CDA-CCD (2007): HL7 Implementation Guide: CDA Release 2 – Continuity of Care Document (CCD) |  |
| --- | --- |
| - | HL7 Standard approved on 2007-04-01. Same as ASTM E2369-05. |
| - | The Continua Design Guidelines uses/generates Continuity of Care records for use within the HL7 CDA. This specification describes constraints on the HL7 Clinical Document Architecture, Release 2 (CDA) specification in accordance with requirements set forward in ASTM E2369-05 Standard Specification for Continuity of Care Record (CCR). |
| - | Complete A.5 justification information can be found in Annex 2 . |

| - HL7 CDA-PHMR (2010): HL7 Implementation Guide for CDA Release 2.0: Personal Healthcare Monitoring Report (PHMR), International Realm. Release 1.1. |  |
| --- | --- |
| - | HL7 Draft Standard for Trial Use (DSTU) approved on 2010-10. |
| - | The Continua Design Guidelines architecture uses HL7 Healthcare Monitoring Reports (PHMR). The purpose of HL7 CDA-PHMR is to describe constraints on the HL7 Clinical Document Architecture (CDA) Header and Body elements for Personal Healthcare Monitoring Report (PHMR) documents mostly containing analysed and raw information of data generated by personal healthcare monitoring devices such as glucometers, BP cuffs, thermometers, weight scales, etc. |
| - | Complete A.5 justification information can be found in Annex 3 . |

| - IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG) |  |
| --- | --- |
| - | Specification approved 2011-11-30. |
| - | This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 4 . |

| - IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter |  |
| --- | --- |
| - | Specification approved 2012-01-27. |
| - | This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 5 . |

| - IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor |  |
| --- | --- |
| - | Specification approved 2011-11-09. |
| - | This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 6 . |

| - IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer |  |
| --- | --- |
| - | Specification approved 2010-06-17. |
| - | This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 7 . |

| - IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1 |  |
| --- | --- |
| - | Specification approved 2010-09-30. |
| - | Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system. |
| - | Complete A.5 justification information can be found in Annex 8 . |

| - IETF RFC 3195 (2001): Reliable Delivery for syslog |  |
| --- | --- |
| - | Standards track RFC approved November 2001. |
| - | Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over the WAN Interface. The BSD Syslog Protocol describes a number of service options related to propagating event messages. For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages. One is a trivial mapping maximizing backward compatibility and the second provides a more complete mapping. Both provide the degree of robustness and security required by Continua in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 9 . |

| - IETF RFC 3881 (2001): Password-based Encryption for CMS |  |
| --- | --- |
| - | Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370. |
| - | The WAN Interface requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passwords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key. The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and H.810 requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many H.810-compliant WAN devices certified by Continua Health Alliance. |
| - | Complete A.5 justification information can be found in Annex 10 . |

| - IHE ITI TF-1 PIX (2010): IHE IT Infrastructure 10 Technical Framework Supplement Patient Identifier Cross-Reference HL7 V3 (PIXV3) and Patient Demographic Query HL7 V3 (PDQV3) 15 Trial Implementation |  |
| --- | --- |
| - | Approved for trial implementation. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This document defines two new Integration Profiles and provides alternative IHE transactions for the Patient Identity Feed, the Patient Identity Query, the Patient Update 195 Notification, and the Patient Demographic Query. |
| - | Complete A.5 justification information can be found in Annex 11 . |

| - IHE ITI TFS XDR (2009): IHE IT Infrastructure (ITI) Technical Framework Supplement 2009-2010 Cross-Enterprise Document Reliable Interchange (XDR) Trial Implementation Supplement Version, Release 4.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines utilizes the IHE Technical Framework for use with Health Reporting Network (HRN) interface. This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata. |
| - | Complete A.5 justification information can be found in Annex 12 . |

| - IHE ITI-TF-1 (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. It defines a technical framework for the implementation of established messaging standards to achieve specific remote patient monitoring goals. |
| - | Complete A.5 justification information can be found in Annex 13 . |

| - IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0 |  |
| --- | --- |
| - | Specification approved 2009-08-10. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging). “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines. |
| - | Complete A.5 justification information can be found in Annex 14 . |

| - IHE TFS DSG (2009): IHE IT Infrastructure (ITI), Technical Framework Supplement: Document Digital Signature 2009-2010.Trial Implementation Supplement. |  |
| --- | --- |
| - | Approved for trial implementation August 10th, 2009. |
| - | The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 15 . |

| - IHE TFS XUA++ (2010): IHE IT Infrastructure (ITI), Technical Framework Supplement: Cross-Enterprise User Assertion - Attribute Extension (XUA++). Trial Implementation. |  |
| --- | --- |
| - | Approved for trial implementation August 10th, 2010. |
| - | The Continua Design Guidelines utilizes the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. |
| - | Complete A.5 justification information can be found in Annex 16 . |

Annex 1A.5 justification information for the reference to ETSI ETS 300 406 (1995-04)

  - 1 	 Clear description of the referenced document:

ETSI ETS 300 406 (1995-04): Methods for Testing and Specification (MTS);

Protocol and profile conformance testing specifications;

Standardization methodology

  - 2 	 Status of approval:

April 1995

  - 3 	 Justification for the specific reference:

The standardization methodology described in this ETSI Technical Specification forms the basis of this test specification.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Approved since April 1995.

  - 6 	 The degree of stability or maturity of the document:

Approved since April 1995.

  - 7 	 Relationship with other existing or emerging documents:

N/A

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETR 153: "Methods for Testing and Specification (MTS); Guidance on the production and completion of System Conformance Test Report (SCTR) and Protocol Conformance Test Report (PCTR) proformas".

[2] ETR 141: "Methods for Testing and Specification (MTS); Protocol and profile conformance testing specifications; The Tree and Tabular Combined Notation (TTCN) style guide".

[3] PNE-Rules (1991): "CEN/CENELEC Internal Regulations - IR; Part 3: Rules for the drafting and presentation of European Standards (PNE-Rules)".

[4] EN 45001 (1989): "General criteria for the operation of testing laboratories".

[5] ISO/IEC 9646-1 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 1: General concepts" (including DAM1 and DAM2, to be published).

[6] ISO/IEC 9646-2 Edition 2 (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 2: Abstract Test Suite Specification" (including DAM1 and DAM2, to be published).

[7] ISO/IEC 9646-3: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation".

[8] ISO/IEC 9646-3 AM 1: "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 3: The Tree and Tabular Combined Notation. Amendment 1: TTCN Extensions (concurrent TTCN)".

[9] ISO/IEC 9646-4 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 4: Test Realisation" (including DAM1 and DAM2, to be published).

[10] ISO/IEC 9646-5 IS Edition 2: (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 5: Requirements on test laboratories and clients for the Conformance Assessment Process" (including DAM1 and DAM2, to be published).

[11] ISO/IEC 9646-6 IS (1994): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 6: Protocol Profile Test Specification".

[12] ISO/IEC 9646-7 DIS (1993): "Information technology - Open Systems Interconnection - Conformance testing methodology and framework - Part 7: Implementation Conformance Statements".

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDA-CCD (2007): HL7 Implementation Guide: CDA Release 2 – Continuity of Care Document (CCD)

  - 2 	 Status of approval:

HL7 Standard approved on 2007-04-01. Same as ASTM E2369-05.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates Continuity of Care records for use within the HL7 CDA. This specification describes constraints on the HL7 Clinical Document Architecture, Release 2 (CDA) specification in accordance with requirements set forward in ASTM E2369-05 Standard Specification for Continuity of Care Record (CCR).

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

HL7 Standard approved on 2007, dual publication with American Society for Testing and Materials (ASTM) standard E2369-05.

  - 6 	 The degree of stability or maturity of the document:

See 5.

  - 7 	 Relationship with other existing or emerging documents:

See 5.

  - 8 	 Any explicit references within that referenced document should also be listed:

ASTM E2369-05, Standard Specification for Continuity of Care Record (CCR), http://www.astm.org/DATABASE.CART/HISTORICAL/E2369-05.htm

RFC 2557 “MIME Encapsulation of Aggregate Documents, such as HTML (MHTML)”

HL7 CDA Release 2

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

HL7 CDA-PHMR (2010): HL7 Implementation Guide for CDA Release 2.0: Personal Healthcare Monitoring Report (PHMR), International Realm. Release 1.1.

  - 2 	 Status of approval:

HL7 Draft Standard for Trial Use (DSTU) approved on 2010-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines architecture uses HL7 Healthcare Monitoring Reports (PHMR). The purpose of HL7 CDA-PHMR is to describe constraints on the HL7 Clinical Document Architecture (CDA) Header and Body elements for Personal Healthcare Monitoring Report (PHMR) documents mostly containing analysed and raw information of data generated by personal healthcare monitoring devices such as glucometers, BP cuffs, thermometers, weight scales, etc.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

Second release (Release 1.1) of the Draft Standard for Trial Use (DSTU) for Personal Healthcare Monitoring Report in the HL7 Clinical Document Architecture (CDA) was issued in October 2010. After the comment period of 24 months, the document is expected to progress into a Standard phase based on comments received.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

See 5. above.

  - 8 	 Any explicit references within that referenced document should also be listed:

IETF RFC 2806 "URLs for Telephone Calls"

Health Level Seven (2005-04), HL7 Clinical Document Architecture, Release 2.0

IEEE 11073,

SNOMED CT

UCUM.

  - 9 	 Qualification of HL7:

Health Level 7 meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A

  - 1 	 Clear description of the referenced document:

IEEE 11073-10406-2011: Health informatics - Personal health device communication Part 10406: Device specialization - Basic electrocardiograph (ECG) (1- to 3-lead ECG)

  - 2 	 Status of approval:

Specification approved 2011-11-30.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Basic Electrocardiograph. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2011-11-30.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-30. Continua has implemented this within their test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

ISO/IEEE Std 11073-20601a-2010 Health informatics - Personal health device communication - Application Profile - Optimized Exchange Profile Amendment 1.

IEEE 100™, The Authoritative Dictionary of IEEE Standards Terms, Seventh Edition, New York, Institute of Electrical and Electronic Engineers, Inc..

ISO/IEEE Std 11073-10101:2004, Health informatics - Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE Std 11073-10201:2004, Health informatics - Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE Std 11073-20101:2004, Health informatics - Point-of-care medical device communication - Part 20101: Application Profiles – Base Standard.

ITU-T Rec. X.680-2002, Information technology - Abstract Syntax Notation One (ASN.1): Specification of basic notation.

IEC 60601-1 Ed.3 (2005) Medical electrical equipment - Part 1: General requirements for basic safety and essential performance

IEC 60601-1-1 Ed.2 (2000): Medical electrical equipment - Part 1-1: General requirements for safety - Collateral standard: Safety requirements for medical electrical systems

IEC 60601-2-XX Medical electrical equipment - Part 2-XX: Particular requirements for the basic safety and essential performance for specific device

EN 62304:2005 Medical device software – Software life-cycle processes

ISO 14971:2007 Medical devices – Application of risk management to medical devices

IEC 80001-1 Application of risk management for IT-networks incorporating medical devices - Part 1: Roles, responsibilities

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10417-2011: Health informatics - Personal health device communication Part 10417: Device specialization - Glucose meter

  - 2 	 Status of approval:

Specification approved 2012-01-27.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Glucose Meter. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2012-01-27.  Continua has certified several devices to this specification and has tested it within their own test tool and source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol-Amendment 1.4

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10418-2011: Health informatics - Personal health device communication Part 10418: Device specialization - International Normalized Ratio (INR) monitor

  - 2 	 Status of approval:

Specification approved 2011-11-09.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a International Normalized Ratio (Blood Coagulation Monitor). It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has implemented this specification within both its test tool and its source code.

  - 6 	 The degree of stability or maturity of the document:

Specification approved 2011-11-09. Continua has implemented this specification within both its test tool and its source code.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601aTM-2010, Health informatics-Personal health device communication-Application Profile-Optimized Exchange Protocol-Amendment 1.

ISO/IEEE 11073-20601:2010, Health informatics-Personal health device communication-Application profile-Optimized Exchange Protocol.

IEC 60601-1:2005, Ed. 3, Medical electrical equipment-Part 1: General requirements for basic safety and essential performance.

IEC 60601-1-1:2000, Ed. 2, Medical electrical equipment-Part 1-1: General requirements for safety-Collateral standard: Safety requirements for medical electrical systems.

IEC 60601-1-2:2007, Medical electrical equipment-Part 1-2: General requirements for basic safety and essential performance-Collateral standard: Electromagnetic compatibility-Requirements and tests.

IEC 60601-2, Medical electrical equipment-Part 2: Particular requirements for the basic safety and essential performance for specific device. (See the entire series of standards, Part 2-1 through Part 2-51.)

IEC 62304:2006/EN 62304:2006, Medical device software-Software life-cycle processes.

IEC 80001-1:2010, Application of risk management for IT-networks incorporating medical devices-Part 1: Roles, responsibilities, and activities.

ISO 14971:2007, Medical devices-Application of risk management to medical devices.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication-Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication-Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication-Part 20101: Application profile-Base standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1): Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-10420-2010: Health informatics - Personal health device communication Part 10420: Device specialization - Body composition analyzer

  - 2 	 Status of approval:

Specification approved 2010-06-17.

  - 3 	 Justification for the specific reference:

This specification defines the medical device system for a Body Composition Analyzer. It constrains the objects and attributes that are available within the base protocol, IEEE 11073-20601, to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-06-17.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-06-17. Continua has implemented this within their tools and has a few certified Body Composition Analyzers.

  - 7 	 Relationship with other existing or emerging documents:

This is one device specialization of 14 total currently approved by the IEEE 11073 Personal Health Devices Work Group. It also uses the base protocol IEEE 11073-20601.

  - 8 	 Any explicit references within that referenced document should also be listed:

IEEE Std 11073-20601-2008, Health informatics-Personal health device communication-Part 20601:

Application Profile-Optimized Exchange Profile.4, 5

IEEE Std 11073-10415™-2008, Health informatics-Personal health device communication-Part 10415:

Device specialization-Weighing scale.

ISO/IEEE 11073-10101:2004, Health informatics-Point-of-care medical device communication - Part 10101: Nomenclature.

ISO/IEEE 11073-10201:2004, Health informatics-Point-of-care medical device communication - Part 10201: Domain information model.

ISO/IEEE 11073-20101:2004, Health informatics-Point-of-care medical device communication - Part 20101: Application Profiles-Base Standard.

ITU-T Rec. X.680-2002, Information technology-Abstract Syntax Notation One (ASN.1):

Specification of basic notation.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IEEE 11073-20601a-2010: Health informatics - Personal health device communication Part 20601: Application profile – Optimized Exchange Protocol Amendment 1

  - 2 	 Status of approval:

Specification approved 2010-09-30.

  - 3 	 Justification for the specific reference:

Continua Design Guidelines personal, local and touch area networks leverages this base specification for medical device system interoperability. This specification defines the complete tool box of features, objects and attributes that are available to a medical device and describes how the medical device will interoperate with a host device or system.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard.

  - 6 	 The degree of stability or maturity of the document:

Specification approved since 2010-09-30 and many many implementations have been developed to this standard. It has also been tested by Continua where over 90 devices have been certified by Continua that utilize this standard.

  - 7 	 Relationship with other existing or emerging documents:

This is the base protocol for currently 14 other IEEE 11073-104zz device specializations.

  - 8 	 Any explicit references within that referenced document should also be listed:

There are no explicit references within this document.

  - 9 	 Qualification of IEEE:

The IEEE was recognized under the provisions of ITU-T Recommendation A.5 on 1 November 1999. Qualifying information is on file with TSB.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3195 (2001): Reliable Delivery for syslog

  - 2 	 Status of approval:

Standards track RFC approved November 2001.

  - 3 	 Justification for the specific reference:

Continua requires the use of this RFC, Reliable Delivery for Syslog, for the robustness and security in message delivery over the WAN Interface.  The BSD Syslog Protocol describes a number of service options related to propagating event messages.  For example, there are two mappings of the syslog protocol to TCP connections, both useful for reliable delivery of event messages.  One is a trivial mapping maximizing backward compatibility and the second provides a more complete mapping.  Both provide the degree of robustness and security required by Continua in message delivery that is unavailable to the usual UDP-based syslog protocol, by providing encryption and authentication over a connection-oriented protocol. Utilized within many H.810-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved November 2001 and its is widely used

  - 6 	 The degree of stability or maturity of the document:

See 6. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[1]  Lonvick, C., "The BSD Syslog Protocol", RFC 3164, August 2001.

[2]  Bradner, S., "Key words for use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[3]  Rose, M., "The Blocks Extensible Exchange Protocol Core", RFC 3080, March 2001.

[4]  Rose, M., "Mapping the BEEP Core onto TCP", RFC 3081, March 2001.

[5]  Gulbrandsen, A., Vixie, P. and L. Esibov, "A DNS RR for specifying the location of services (DNS SRV)", RFC 2782, February 2000.

[6]  Freed, N. and N. Borenstein, "Multipurpose Internet Mail Extensions (MIME) Part Two: Media Types", RFC 2046, November 1996.

[7]  Alvestrand, H., "Tags for the Identification of Languages", BCP 47, RFC 3066, January 2001.

[8]  Leach, P. and C. Newman, "Using Digest Authentication as a SASL Mechanism", RFC 2831, May 2000.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IETF RFC 3881 (2001): Password-based Encryption for CMS

  - 2 	 Status of approval:

Standards track RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 3 	 Justification for the specific reference:

The WAN Interface requires the use of this obsolete RFC, Password-based Encryption for CMS, for the encryption of data using user-supplied passwords over the WAN Interface. This document provides a method of encrypting data using user-supplied passwords and, by extension, any form of variable-length keying material which is not necessarily an algorithm-specific fixed-format key.  The Cryptographic Message Syntax data format does not currently contain any provisions for password-based data encryption and H.810 requires this within its architecture. Further, there is dependency on the use of this RFC across other IHE and HL7 that also use this version of the protocol in this protocol, and there are many H.810-compliant WAN devices certified by Continua Health Alliance.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Proposed Standard RFC approved December 2001. Obsoleted by RFC 3369, RFC 3370.

  - 6 	 The degree of stability or maturity of the document:

See 5. above.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASN1]    CCITT Recommendation X.208: Specification of Abstract Syntax Notation One (ASN.1), 1988.

[RFC2119] Bradner, S., "Key Words for Use in RFCs to Indicate Requirement Levels", BCP 14, RFC 2119, March 1997.

[RFC2630] Housley, R., "Cryptographic Message Syntax", RFC 2630, June 1999.

[RFC2898] Kaliski, B., "PKCS #5: Password-Based Cryptography Specification, Version 2.0", RFC 2898, September 2000.

[PACKAGE] All-or-Nothing Encryption and the Package Transform, R. Rivest, Proceedings of Fast Software Encryption '97, Haifa,              Israel, January 1997.

  - 9 	 Qualification of ISOC/IETF:

9.1-9.6 Decisions of ITU Council to admit ISOC to participate in the work of the Sector (June 1995 and June 1996).

9.7 The Internet Engineering Steering Group (IESG) is responsible for ongoing maintenance of the RFCs when the need arises. Comments on RFCs and corresponding changes are accommodated through the existing standardization process.

9.8 Each revision of a given RFC has a different RFC number, so no confusion is possible. All RFCs always remain available on-line. An index of RFCs and their status may be found in the IETF archives at http://www.rfc-editor.org/rfc.html.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI TF-1 PIX (2010): IHE IT Infrastructure 10 Technical Framework Supplement Patient Identifier Cross-Reference HL7 V3 (PIXV3) and Patient Demographic Query HL7 V3 (PDQV3) 15

Trial Implementation

  - 2 	 Status of approval:

Approved for trial implementation.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This document defines two new Integration Profiles and provides alternative IHE transactions for the Patient Identity Feed, the Patient Identity Query, the Patient Update 195 Notification, and the Patient Demographic Query.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Continua has one certified HRN device which has implemented this standard.

  - 6 	 The degree of stability or maturity of the document:

Continua has one certified HRN device which has implemented this standard.

  - 7 	 Relationship with other existing or emerging documents:

N/A.

  - 8 	 Any explicit references within that referenced document should also be listed:

HL7 Version 3 Edition 2008 Patient Administration DSTU, Patient Topic (found at http://www.hl7.org/memonly/downloads/v3edition.cfm#V32008)

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI TFS XDR (2009): IHE IT Infrastructure (ITI) Technical Framework Supplement 2009-2010 Cross-Enterprise Document Reliable Interchange (XDR) Trial Implementation Supplement Version, Release 4.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines utilizes the IHE Technical Framework for use with Health Reporting Network (HRN) interface.  This document, the IHE IT Infrastructure Technical Framework (ITI TF), defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care. It is expanded annually, after a period of public review, and maintained regularly through the identification and correction of errata.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Utilizes existing standards while constraining them specifically for health IT.  Continua has one certified HRN device.

  - 6 	 The degree of stability or maturity of the document:

Utilizes existing standards while constraining them specifically for health IT.

  - 7 	 Relationship with other existing or emerging documents:

HL7 and OASIS.

  - 8 	 Any explicit references within that referenced document should also be listed:

No explicit references to other documents.

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE ITI-TF-1 (2009): IHE IT Infrastructure (ITI) Technical Framework Volume 1 (ITI TF-1) Integration Profiles, Revision 6.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with Health Reporting Network (HRN) interface. It defines a technical framework for the implementation of established messaging standards to achieve specific remote patient monitoring goals.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

Specification is in force and has been implemented in at least one Continua certified device.

  - 6 	 The degree of stability or maturity of the document:

It includes a rigorous testing process for the implementation of this framework. And it organizes educational sessions and exhibits at major meetings of medical professionals to demonstrate the benefits of this framework and encourages its adoption by industry and users.

  - 7 	 Relationship with other existing or emerging documents:

The approach employed in the IHE initiative is to support the use of existing standards, e.g HL7, ASTM, DICOM, ISO, IETF, OASIS and others as appropriate, rather than to define new standards.

  - 8 	 Any explicit references within that referenced document should also be listed:

RFC 1510 - http://www.ietf.org/rfc/rfc1510.txt

MIT's Kerberos home page - http://web.mit.edu/kerberos/www/

The Moron's Guide to Kerberos - http://www.isi.edu/~brian/security/kerberos.html

Microsoft Kerberos information 910 http://www.microsoft.com/TechNet/prodtechnol/windows2000serv/deploy/kerberos.asp

IHE white paper “HIE Security and Privacy through IHE” published on the IHE web site http://www.ihe.net/Technical_Framework/upload/IHE_ITI_Whitepaper_Security_and_Privacy_2007_07_18.pdf

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

None

  - 1 	 Clear description of the referenced document:

IHE ITI-TF-2 (2009): IT Infrastructure Technical Framework Volume 2x (ITI TF-2x), Volume 2 "Appendices"; Revision 6.0

  - 2 	 Status of approval:

Specification approved 2009-08-10.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. Continua utilizes this document for its Web Service transactions (specifically SOAP messaging).  “Web Services” has become a catch-all phrase describing a wide range of HTTP transactions over a TCP/IP network. A more precise definition of Web Services implies richer infrastructure capabilities with all transactions built using SOAP messages. This reference provides in its Appendix V the guidelines for specifying 1660 the use of SOAP-based Web Services as the messaging infrastructure and transport mechanism for IHE transactions, several of which are used by the Continua Design Guidelines.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

The specification is approved and in-force.

  - 6 	 The degree of stability or maturity of the document:

The specification is approved and in-force. Continua has 6 certifications which have implemented this specification.

  - 7 	 Relationship with other existing or emerging documents:

Virtually all web services specifications are developed under the auspices of the World Wide Web Consortium (W3C) or the Organization for the Advancement of Structured Information Standards (OASIS).

  - 8 	 Any explicit references within that referenced document should also be listed:

WS-I: http://ws-i.org/

WS-I Basic Profile 1.1: http://www.ws-i.org/Profiles/BasicProfile-1.1.html

WS-I Simple SOAP Binding Profile: http://www.ws-i.org/Profiles/SimpleSoapBindingProfile-1.0.html

SOAP 1.1: http://www.w3.org/TR/2000/NOTE-SOAP-20000508/

SOAP 1.2: http://www.w3.org/TR/soap12-part0/

WSDL 1.1 SOAP 1.1 binding (Chapter 3): http://www.w3.org/TR/wsdl.html#_soap-b

WSDL 1.1 SOAP 1.2 binding: http://www.w3.org/Submission/wsdl11soap12/

HL7 V3 Web Services Profile: http://www.hl7.org/v3ballot/html/infrastructure/transport/transport-wsprofiles.htm

WS-Addressing: http://www.w3.org/TR/ws-addr-core

WS-I Basic Security Profile: http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

MTOM: http://www.w3.org/TR/soap12-mtom/

XOP: http://www.w3.org/TR/xop10/

WS-Security 1.0: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Security 1.1: http://www.oasis-open.org/committees/tc_home.php?wg_abbrev=wss#technical

WS-Secure Conversation: http://specs.xmlsoap.org/ws/2005/02/sc/WS-SecureConversation.pdf

WS-Trust: http://docs.oasis-open.org/ws-sx/ws-trust/v1.3/ws-trust.html

WS-Policy: http://www.w3.org/Submission/WS-Policy/

WS-Reliable Messaging: http://docs.oasis-open.org/ws-rx/wsrm/200702

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE TFS DSG (2009): IHE IT Infrastructure (ITI), Technical Framework Supplement: Document Digital Signature 2009-2010.Trial Implementation Supplement.

  - 2 	 Status of approval:

Approved for trial implementation August 10th, 2009.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines uses/generates the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A.

  - 5 	 Other useful information describing the "Quality" of the document:

This specification was approved as a draft for trial implementation on August 10th, 2009 and is in-force.

  - 6 	 The degree of stability or maturity of the document:

The IHE initiative is both a process and a forum for encouraging integration efforts. It defines a technical framework for the implementation of established information exchange standards to achieve specific clinical goals. It includes a rigorous testing process for the implementation of this framework. And, both the IHE and Continua organize educational sessions and exhibits at major meetings of medical professionals to demonstrate the benefits of each of their frameworks encouraging its adoption by industry and users.

  - 7 	 Relationship with other existing or emerging documents:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. Continua has further constrained it for both the WAN and HRN interfaces.

  - 8 	 Any explicit references within that referenced document should also be listed:

[ASTM-E1985] E1985-98 -- Standard guide for user authentication and authorization http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1985.htm?E+mystore

[ASTM-E2212] ASTM E2212 – Standard Practice for Healthcare Certificate Policy http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+-L+ASTM:E2212+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E2212.htm

[ASTM-E1762-05]ASTM E1762-05 – Standard Guide for the Authentication of Health Care Information http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+- L+ASTM:E1762+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E1762.htm

[ASTM-E2084] ASTM E2084 – Standard Specification for the Authentication of Healthcare Information using Digital Signatures http://www.astm.org/cgi-bin/SoftCart.exe/STORE/filtrexx40.cgi?U+mystore+odvl4256+- L+ASTM:E2084+/usr6/htdocs/astm.org/DATABASE.CART/REDLINE_PAGES/E2084.htm

[ISO17090 (1,2,3)] ISO/TS 17090 – Health Informatics Digital Signatures for Healthcare http://www.iso.org/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=35489&ICS1=35&ICS2=240&ICS3=80

[ISO 21091]ISO/TS 21091- Health Informatics – Directory Services for Security, Communications, and Identification of Professionals and Patients http://www.iso.org/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=35647&scopelist=PROGRAMME

[IETF RFC3280] IETF/RFC 3280 regarding X.509v3 PKIX Private Key Infrastructure RFC3280 http://www.faqs.org/rfcs/rfc3280.html

[IETF RFC2633] IETF/RFC 2633 regarding S/MIME http://www.imc.org/rfc2633

[DICOM 41] DICOM Supplement 41 ftp://medical.nema.org/medical/dicom/final/sup41_ft.pdf

[DICOM 86] DICOM Supplement 86 ftp://medical.nema.org/medical/dicom/supps/sup86_lb.pdf

[NCPDP] NCPDP prescription data coding, content, formatting and taxonomy http://www.ncpdp.org

[HL7 CDA] HL7 CDA http://secure.cihi.ca/cihiweb/dispPage.jsp?cw_page=infostand_hl7doc_arch_e#cda

[CEN ENV13607] Process flow guidance from CEN Pre-Standard ENV13607 - Health informatics http://www.centc251.org

[WS-I] WS-I Basic Security Profile Version 1.0, working draft http://www.ws-i.org/Profiles/BasicSecurityProfile-1.0.html

[ETSI TS 201 733] ETSI TS 201 733 Sections C.3.1 and C.3.2; Electronic Signatures and Infrastructures and (ESI)Electronic Signature Formats http://webapp.etsi.org/WorkProgram/Report_WorkItem.asp?WKI_ID=8179&curItemNr= 1&totalNrItems=1&optDisplay=10&qSORT=REFNB&qETSI_NUMBER=201+733&qINCLUDE_SUB_TB=True&qINCLUDE_MOVED_ON=&qSTOP_FLG=N&butExpertSearch=Search&includeNonActiveTB=FALSE&qREPORT_TYPE=SUMMARY

[ETSI TS 101 903] ETSI TS 101 903: XML Advanced Electronic Signatures XadES http://www.w3.org/TR/XAdES/

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

  - 1 	 Clear description of the referenced document:

IHE TFS XUA++ (2010): IHE IT Infrastructure (ITI), Technical Framework Supplement: Cross-Enterprise User Assertion - Attribute Extension (XUA++). Trial Implementation.

  - 2 	 Status of approval:

Approved for trial implementation August 10th, 2010.

  - 3 	 Justification for the specific reference:

The Continua Design Guidelines utilizes the IHE Technical Framework for use with both its Health Reporting Network (HRN) and Wide Area Network (WAN) interfaces. This document defines specific implementations of established standards to achieve integration goals that promote appropriate sharing of medical information to support optimal patient care.

  - 4 	 Current information, if any, about IPR issues:

N/A

  - 5 	 Other useful information describing the "Quality" of the document:

An improvement over the XUA Profile improving access control for audit logging: This supplement extends the Cross-Enterprise User Assertion (XUA) profile with Options that will enable access controls on the service side. The current XUA profile allows attributes but does not require any specific attributes beyond the user identity that is used for audit logging. There is now experience on how to extend an XUA Assertion to support some service side access control. This improvement over the XUA profile has been recognized and implemented within related certification programs.

  - 6 	 The degree of stability or maturity of the document:

See 5.

  - 7 	 Relationship with other existing or emerging documents:

This document defines a coordinated set of transactions based on ASTM, DICOM, HL7, IETF, ISO, OASIS and W3C standards. The COntinua Design Guidelines further constrained it for the HRN and WAN interfaces.

  - 8 	 Any explicit references within that referenced document should also be listed:

NIST SP 800-63, Liberty Alliance, and OASIS [sstc-saml-assurance-profile-draft-01.pdf].

IHE Access Control White Paper [http://www.ihe.net/Technical_Framework/upload/IHE_ITI_TF_WhitePaper_AccessControl_2009-09-28.pdf].

OASIS http://www.oasis-open.org/committees/security/.

SAMLCore SAML V2.0 Core standard

WSS10 OASIS Standard, "OASIS Web Services Security: SOAP Message Security 1.0 (WS-Security 2004)", March 2004. 330

WSS11 OASIS Standard, "OASIS Web Services Security: SOAP Message Security 1.1 (WS-Security 2004)", February 2006.

WSS:SAMLTokenProfile1.0 OASIS Standard, “Web Services Security: SAML Token Profile”, December 2004

WSS:SAMLTokenProfile1.1 OASIS Standard, “Web Services Security: SAML 335 Token Profile 1.1”, February 2006

XSPA-SAMLv1.0 OASIS Standard, ?Cross-Enterprise Security and Privacy Authorization (XSPA) Profile of the Security Assertion Markup Language (SAML) for Healthcare v1.0? , November 2009

SAML V2.0 Standards http://www.oasis-open.org/committees/security/.

SAML V2.0 Technical Overview

SAML Executive Overview

SAML Tutorial presentation by Eve Maler of Sun Microsystems

  - 9 	 Qualification of IHE:

Integrating the Healthcare Enterprise (IHE) meets the qualifying criteria for normative referencing as per Recommendation ITU-T A.5.

  - 10 	 Other (for any supplementary information):

N/A.

_________________