| Question(s): | 6/5 | Meeting, date: |  |  |
| --- | --- | --- | --- | --- |
| Study Group: | 5 | Working Party: |  | 2/5 |
| Source: | Editor of L.1207 (ex L.400migration) |  |  |  |
| Title: | A.5 justification information for draft new L.1207 (ex L.400migration) "Progressive migration of a telecommunication/information and communication technology site to 400 VDC sources and distribution" |  |  |  |
| Contact: | Name Organization Country |  | Tel: + xx E-mail: a@b.com |  |
| Contact: |  |  | Tel: + xx E-mail: a@b.com |  |

| Abstract: | This TD contains the A.5 justification for draft new L.1207 (ex L.400migration) "Progressive migration of a telecommunication/information and communication technology site to 400 VDC sources and distribution" including the following normative references: ETSI EN 301 605 V1.1.1 (2013-10) . |
| --- | --- |

- 1	Introduction

According to ITU procedures, as described in ITU-T Recommendation A.5 , any normative reference to documentation produced outside the ITU (other than ISO and IEC texts) needs to be evaluated by the study group or working party before a decision is made to incorporate the reference in an ITU-T Recommendation.

This TD contains the A.5 justification information for new L.1207 (ex L.400migration) "Progressive migration of a telecommunication/information and communication technology site to 400 VDC sources and distribution".

- 2	Referred documents and respective justifications

| - ETSI EN 301 605 V1.1.1 (2013-10) : Environmental Engineering (EE); Earthing and bonding of 400 VDC data and telecom (ICT) equipment |  |
| --- | --- |
| - | Approved by ETSI |
| - | This document is completing the ETSI EN 300 253 for earthing and bonding of ICT/Telecom building that includes up to 400VDC in cohabitation with -48V and AC distribution to Telecom/ICT equipment |
| - | Complete A.5 justification information can be found in Annex 1 . |

Annex 1A.5 justification information for the reference to ETSI EN 301 605 V1.1.1 (2013-10)

  - 1 	 Clear description of the referenced document:

ETSI EN 301 605 V1.1.1 (2013-10) : Environmental Engineering (EE); Earthing and bonding of 400 VDC data and telecom (ICT) equipment

  - 2 	 Status of approval:

Approved by ETSI

  - 3 	 Justification for the specific reference:

This document is completing the ETSI EN 300 253 for earthing and bonding of ICT/Telecom building that includes up to 400VDC in cohabitation with -48V and AC distribution to Telecom/ICT equipment

  - 4 	 Current information, if any, about IPR issues:

ETSI IPR information is available at http://www.etsi.org

  - 5 	 Other useful information describing the "Quality" of the document:

The status of the referred ETSI document is "approved standards".

  - 6 	 The degree of stability or maturity of the document:

The status of the referred ETSI document is published standard

  - 7 	 Relationship with other existing or emerging documents:

None

  - 8 	 Any explicit references within that referenced document should also be listed:

[1] ETSI EN 300 132-3-1: "Environmental Engineering (EE); Power supply interface at the input to

telecommunications and datacom (ICT) equipment; Part 3: Operated by rectified current source,

alternating current source or direct current source up to 400 V; Sub-part 1: Direct current source

up to 400 V".

[2] CENELEC HD 60364-1: "Low-voltage electrical installations - Part 1: Fundamental principles,

assessment of general characteristics, definitions" (IEC 60364-1).

[3] CENELEC HD 60364-4-41: "Low-voltage electrical installations - Part 4-41: Protection for

safety - Protection against electric shock" (IEC 60364-4-41).

[4] CENELEC HD 60364-5-54: "Low-voltage electrical installations - Part 5-54: Selection and

erection of electrical equipment - Earthing arrangements and protective conductors"

(IEC 60364-5-54).

[5] IEC 60050: "International Electrotechnical Vocabulary".

[6] CENELEC EN 60950-1: "Information technology equipment - Safety - Part 1: General

requirements" (IEC 60950-1).

[7] CENELEC EN 62305-series: "Protection against lightning" (IEC 62305-series).

[8] CENELEC EN 50310: "Application of equipotential bonding and earthing in buildings with

information technology equipment".

[9] ETSI EN 300 253: "Environmental Engineering (EE); Earthing and bonding of telecommunication

equipment in telecommunication centres".

[10] CENELEC EN 41003: "Particular safety requirements for equipment to be connected to

telecommunication networks and/or a cable distribution system".

[11] IEC/TR 60479-5: "Effects of current on human beings and livestock - Part 5: Touch voltage

threshold values for physiological effects".

[12] CENELEC EN 50174-2: "Information technology -Cabling installation -Part 2: Installation

planning and practices inside buildings".

[13] CENELEC EN 61557-8: "Electrical safety in low voltage distribution systems up to 1 000 V a.c.

and 1 500 V d.c. - Equipment for testing, measuring or monitoring of protective measures -

Part 8: Insulation monitoring devices for IT systems" (IEC 61557-8).

[14] CENELEC EN 61557-9: "Electrical safety in low voltage distribution systems up to 1 000 V a.c.

and 1 500 V d.c. - Equipment for testing, measuring or monitoring of protective measures -

Part 9: Equipment for insulation fault location in IT systems" (IEC 61557-9).

[15] CENELEC HD 308: "Identification of cores in cables and flexible cords".

[16] CENELEC EN 60445: "Basic and safety principles for man-machine interface, marking and

identification - Identification of equipment terminals, conductor terminations and conductors"

(IEC 60445).

  - 9 	 Qualification of ETSI:

ETSI is recognized under the provisions of ITU-T Recommendations A.5 and A.6. Qualifying information is on file at TSB.

  - 10 	 Other (for any supplementary information):

None

_________________